| Recommendation for HL7 RIM Change (Vocabulary Harmonization) |  |  | RECOMMENDATION ID: |  |  | PS01-V |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | - Patient Safety SIG |  | DRAFT (# and date): |  |  |  |  |
| Date submitted: | 10/19/04 |  | Committee status: |  | SIG |  |  |
| Submitter: | Mead Walker |  |  |  |  |  |  |
| NAME: | Patient Safety SIG Vocabulary Harmonization |  |  |  |  |  |  |
| STEWARD’S POSITION : |  |  |  |  |  |  |  |
| TC/SIG |  | RECOMMENDATION APPROVAL STATUS |  | AFFECTED ENTITIES OF INTEREST TO TC/SIG (responsibility level: S=Steward; I=Interested) |  |  |  |
| Vocabulary |  | The proposals have been discussed with the TC, and were generally endorsed by the committee. |  | S |  |  |  |
| ISSUE: |  |  |  |  |  |  |  |
| RECOMMENDATION(s) & RATIONALE |  |  |  |  |  |  |  |
| The material below includes a series of proposals for establishing vocabulary domains to support the ICSR (Individual Case Safety Report) ballot. These domains are needed to lend precision to the use of RIM coded attributes by that ballot. |  |  |  |  |  |  |  |
| RECOMMENDED ACTION ITEMS: |  |  |  |  |  |  |  |
| M&M, Vocab, and the harmonization group to implement recommendations. |  |  |  |  |  |  |  |
| RESOLUTION: |  |  |  |  |  |  |  |

It is proposed that the following set of domains be accepted by the harmonization process.  The proposal records a domain name, applicable attribute, and description for each.

ICSR = Individual Case Safety Report

ISSUE:  NEED TO REMOVE SPACES FROM DOMAIN NAME

OUTCOME:  Voting on this as a block.  Work will be done to clarify how this will be displayed in our vocabulary.  If you are opposed, please let the appropriate people know      VOTE:  	9-1-4  PASSED

Domain: ICSR Type

[Applicable attribute: Investigation.code]Act.code

Description: A code that is used to indicate the type of report received from sender.  The current code example reference is from the International Conference on Harmonisation (ICH) Expert Workgroup guideline on Clinical Safety Data Management: Data Elements for Transmission of Individual Case Safety Reports.  The unknown/unavailable option allows the transmission of information from a secondary sender where the initial sender did not specify the type of report.

Example concepts include: Spontaneous, Report from study, Other,.

Domain: ICSR Sender Type

[Applicable attribute: assignedInvestigator_Organization.code] Role.code

Description: A code that is used to indicate the type of sender organization.  The current code example reference is from the International Conference on Harmonisation (ICH) Expert Workgroup guideline on Clinical Safety Data Management: Data Elements for Transmission of Individual Case Safety Reports.

Example concepts are: Pharmaceutical company, Regulatory Authority, Health Professional, Regional Pharmacovigilence Center, World Health Organization Collaborating Center for International Drug Monitoring.

Domain: Case Seriousness Criteria (Observation.value)

[Applicable attribute: pertinentCaseServiousness.value

Description: The criterion applies to the case as a whole and provides information on the overall effect of the adverse reaction/adverse event reported in the ICSR.  Codes may be realm or use case specific.

Example concepts are: death, disability, hospitalization, congenital anomaly/ birth defect, and other medically important condition.

Domain: Subject Reaction

[Applicable attribute: reaction.value] (Observation.value)

Description: A code to capture the kind of reaction that was suffered by the investigated subject, and that is being reported in the ICSR.  Coding vocabularies or terminologies should be used and may be realm or use case specific.  At this point, SNOMED or MedDRA have been suggested as code systems to be used for providing this information.

Domain: Product Characterization

[Applicable attribute: pertinentInterventionCharacterization.value] (Observation.value)

Description: A code that characterizes the role that the primary reporter felt that the suspect intervention – either a substance administration or a device related procedure - played in the incident being reported.  This code will capture the primary reporter’s assessment of the role that the suspect product played in the incident reported in the ICSR.

Examples include: Suspect, Concomitant, Interacting, Re-challenge

Domain: Pertinent Reaction Relatedness

[Applicable attribute: [PertinentReactionRelatedness.code Value] (Observation.value)

Description: A code to capture the reporter’s assessment of the extent to which the reaction is related to the suspect product reported in the ICSR.  Codes may be realm or use case specific.

Example concepts include: related, not related, possibly related and unlikely related.

Domain: Pertinent Reaction Relatedness Method

[Applicable attribute: PertinentReactionRelatedness.methodCode ] (Observation.methodCode)

Description: Indicates the method that the report used to determine the relationship between a reaction and an intervention.

Examples include: global introspection, algorithm, Bardi (a form of Bayesian analysis providing a decimal probability)

Domain: Subject Reaction Outcome

[Applicable attribute: CausedOutcome.value] (Observation.value)

Description: Code that captures the type of outcome from an individual outcome of a reaction to the suspect product reported in the ICSR.  Codes may be use case or realm specific.

Examples include: Recovered/resolved. Recovering/resolving, Not recovered/not resolved, Recovered/resolved with sequelae, Fatal.

Domain: Subject Reaction Emphasis

[Applicable attribute: ReactionEmphasis.value] (Observation.value)

Description: Code that captures the emphasis that the reporter placed on this reaction

Examples include: highlighted by the reporter, NOT serious, Not highlighted by the reporter, NOT serious, Highlighted by the reporter, SERIOUS, Not highlighted by the reporter, SERIOUS.

Domain: Device Generic Type

[Applicable attribute: DeviceModel.code (Entity.code)

Description: Includes the set of codes used to identify a device that may be referred to in an ICSR report.  Example code set reference is the FDA Center for Devices and Radiological Health product code list.

Example product codes include: FOZ = Catheter, Intravascular, Therapeutic, short-term less than 30 days, MOP = Rotator, Prosthetic Heart Valve

Domain: Reason for Not Evaluating Device

[Applicable attribute: DeviceEvaluation.reasonCode] (Act.reasonCode)

Description: Code assigned to indicate the rationale for not performing an evaluation investigation on a device for which a defect has been reported..

Examples include: device received in a condition that made analysis impossible, device evaluation anticipated but not yet begun, device not made by company.

Domain: Device Manufacturer Evaluation Result

[Applicable attribute: EvaluationResult.value  (Observation.value)

Description: Code assigned to indicate an outcome of the manufacturer’s investigation of a product for which a defect has been reported.

Examples include:.component/subassembly failure: air cleaner, computer-, imaging system-, microprocessor-controlled device problem: cache memory, design – not fail safe.

Domain: Device Manufacturer Evaluation Method

[Applicable attribute: EvaluationMethod.value (Observation.value)

Description: Code assigned to indicate a relevant fact within the context of the evaluation of a reported product.  There are a number of concept types including the status of the evaluation, the type of evaluation findings, and the type of activity carried out as part of the evaluation process.

Examples include: Actual device involved in incident was evaluated, electrical tests performed, visual examination.

Domain: Device Manufacturer Evaluation Interpretation

[Applicable attribute: EvaluationInterpretation.value] (Observation.value)

Description: A code set that includes codes that are used to characterize the outcome of the device evaluation process.  The code defines the manufacturer’s conclusions following the evaluation.

Examples include:iInadequate alarms, device maintenance conribued to event, device failed just prior to use, user error caused event

Domain: Reaction Action Taken

[Applicable attribute: pertinentActionTaken.value] (Observation.value)

Description: Code used to indicate the action taken by practitioner in response to the problem (whether drug or device related) that is reported in the ICSR.  Codes may be realm or use case specific.  Currently, this information is captured as text.

Domain: Device Pertinent Intervention Characterization

[Applicable attribute: pertinentInterventionCharacterization.value (Observation.value)

Description: Code to describe the action taken or intervention chosen when product failed to perform as intended.

Codes may be realm or use case specific.  Currently, this information is captured as text.

Domain: Device Operator Type

[Applicable attribute: R_AssignedEntity CMET] (Role.code)

Description: Indicates the type of person that is responsible for operating device related to incident reported in ICSR.  Codes may be use case or realm specific.

Examples include: Physician, Nurse, Medical Technician, Respiratory Technician.